OUTLET & SYSTEM TRANSMISSION COSTS

I.  OUTLET TRANSMISSION

Capital Estimates for Generator Outlet – E to Forbes, W to Blackberry (IV, p. 89)

|  | Mesaba I | Upgrade I | Mesaba II | Upgrade II | Total |
| --- | --- | --- | --- | --- | --- |
| East Range Site | $99.00 | $5.00 | $17.00 | $10.00 | $131.00 |
| West Range Site | $18.40 | $5.00 | $49.40 | $10.00 | $82.80 |

West – double circuit 230kV for Mesaba One and new 345kV for Mesaba Two

East – two double circuit 345/115kV, in-line 600MVA 345/230kV xfmrs I & sub upgrade for II anticipating system upgrades

II.  CAPITAL ESTIMATES FOR NETWORK/SYSTEM UPGRADES

Petition, Project Description, Section IV, p. 90)

|  | Mesaba I |  | Mesaba II |  | Total |
| --- | --- | --- | --- | --- | --- |
| East Range Site | $255.00 |  | $53.00 |  | $308.00 |
| West Range Site | $75.00 |  | $220.00 |  | $295.00 |

(note E is high up front costs, W costs are delayed)

G519 MISO System Impact Study – Phase I only (vi):

| Boswell-Riverton | Add new 230kV line from Boswell to Riverton – 73 mi (80 mi in G519) bundled 795 600MVA, 115kV to 200MVA | $45.00 (way low, s/b $ |
| --- | --- | --- |
| Boswell 230kV sub* (+/- 40%) | New 230kV bus position for Boswell-Riverton line at Boswell | $ 1.90 |
| Riverton 230kV sub* | New 230kV bus position for Boswell-Riverton line at Riverton | $ 1.70 |
| Hill City 230kV sub* | New 230kV substation at Hill City | $ 3.50 |
| Nashwauk 115kV sub* | Replace 4 115kV circuit breakers at Nashwauk | $ 0.72 |

TOTAL SYSTEM UPGRADES:         $52.82

Key Measurements for Generator Outlet, Project Description, Section IV, p. 89-90

|  | East | West | Difference |
| --- | --- | --- | --- |
| Mesaba I | 345/230kV | 230 & 345kV |  |
| Circuit miles | 71 | 20 | -51 |
| ROW miles | 71 | 10 | -61 |
| New ROW miles | 6.5 | 6.5 | 0 |
| Widened ROW miles | 31 | 0 | -31 |
| Land use (acres) | 190 | 78 | -112 |
| Capital cost GO | 99 | 18 | -81 |
| Capital cost Network | 308 | 295 | -$13 |
| Phase I | 255 | 75 | -180 |
| Phase II | 53 | 220 | +168 |
| Losses (MW) (system)** | 3.5 | 2.6 | -0.9 |
| Totals for Mesaba I & II |  |  |  |
| Circuit miles | 71 | 37.5 | -33.5 |
| ROW miles | 71 | 27.5 | -43.5 |
| New ROW miles | 6.5 | 7.5 | +1 |
| Widened Row miles | 31 | 0 | -31 |
| Land Use (acres) | 190 | 91 | -99 |
| Capital Expenditures GO | 116 | 67.8 | 48.2 |
| Losses (MW)(system)*** | 11/25 | 6.4 |  |

* Phase I losses different than in Mesaba I above

** Losses are “difference in losses for Xcel’s, MP’s & GRE’s systems for G519 add”