## Instructions
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION
CY 2024
INSTRUCTIONS
These worksheet tabs correspond closely to the tables in the forecast instructions received by the utility.
The forecast instructions pertain to the data to be entered in each of the worksheet tabs.
PLEASE DO NOT CHANGE THE NAME OR ORDER OF ANY OF THE WORKSHEET TABS OR CHANGE THE NAME OF THIS WORKBOOK.
In general, the following color scheme is used on each worksheet:
Cells shown with a dark blue background correspond to applicable Minnesota Rules section number/names on each worksheet tab.
Cells shown with a light green background correspond to headings for sections, columns, row, or individual fields on each worksheet tab.
Cells shown with a light yellow background require data to be entered by the utility.
Cells shown with a light brown background generally correspond to fields that are calculated from the data entered, or
correspond to fields that are informational and not to be modified by the utility.
Each worksheet tab contains a section labeled "Comments" below the main data entry area.
You may enter any comments in that section to provide an explaination or clarification on the data entered; OR
why data IS NOT being entered on the worksheet tab (for example: cells left blank).
Cells with automatic calculations (typically totals) are provided on some worksheets to assist with the accuracy of the data provided by the utility. It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab.
Please complete the required worksheet tabs and save the completed workbook to your local computer.
Then attach the completed workbook to an email message, include your contact information, and send it to the following email address:
rule7610.reports@state.mn.us
If you have any questions please contact:
Anne Sell
MN Department of Commerce, Division of Energy Resources
Email: rule7610.reports@state.mn.us (preferred)
Direct: 651-539-1851 (leave a message)
COMM Website: https://mn.gov/commerce/industries/energy/utilities/annual-reporting/

## Registration
MINNESOTA ELECTRIC UTILITY ANNUAL REPORT - FORECAST SECTION |  |  | * * * CORRECTED * * * | < < If this spreadsheet needs to be updated and re-submitted, please
CY 2024 |  |  |  | change the Font color in Cell G1 from White to Automatic (Black).
7610.0120 REGISTRATION
ENTITY ID# | 199 | RILS ID# | U12682
REPORT YEAR | 2024
UTILITY DETAILS |  | CONTACT INFORMATION
UTILITY NAME | Dairyland Power Cooperative | CONTACT NAME | Renee Colbert
STREET ADDRESS | 3200 E Ave S, PO Box 817 | CONTACT TITLE | Senior Resource Planner
CITY | La Crosse | CONTACT STREET ADDRESS | 3200 E Ave S
STATE | WI | CITY | La Crosse
ZIP CODE | 54602-0817 | STATE | WI
TELEPHONE | 608-787-1347 | ZIP CODE | 54602
| Scroll down to see allowable UTILITY TYPES | TELEPHONE | 608-787-1336
* UTILITY TYPE |  | CONTACT E-MAIL | renee.colbert@dairylandpower.com
COMMENTS |  | PREPARER INFORMATION | (do not type "Same as Above")
|  | PERSON PREPARING FORMS | Renee Colbert
|  | PREPARER'S TITLE | Senior Resource Planner
|  | DATE | 2025-06-01
|  | PREPARER'S EMAIL ADDRESS | Renee.Colbert@dairylandpower.com
ALLOWABLE UTILITY TYPES
Code
Private
Public
Co-op
Hide BlankPlant Sheet
Un-Hide BlankPlant Sheet
Un-Hide All Sheets

## SysConsumers
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [10 empty] | * * * CORRECTED * * *
CY 2024
7610.0310 Item A. SYSTEM FORECAST OF ANNUAL ELECTRIC CONSUMPTION BY ULTIMATE CONSUMERS
Provide actual data for your entire system for the past year, your estimate for the present year and all future forecast years.
Please remember that the number of customers should reflect the number of customers at year's end, not the number of meters.
|  |  | FARM | NON-FARM RESIDENTIAL | COMMERCIAL | MINING * | INDUSTRIAL | STREET & HIGHWAY LIGHTING | OTHER | SYSTEM TOTALS | Calculated System Totals
Past Year | 2024 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
Present Year | 2025 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
1st Forecast Year | 2026 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
2nd Forecast Year | 2027 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
3rd Forecast Year | 2028 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
4th Forecast Year | 2029 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
5th Forecast Year | 2030 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
6th Forecast Year | 2031 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
7th Forecast Year | 2032 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
8th Forecast Year | 2033 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
9th Forecast Year | 2034 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
10th Forecast Year | 2035 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
11th Forecast Year | 2036 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
12th Forecast Year | 2037 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
13th Forecast Year | 2038 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
14th Forecast Year | 2039 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
* MINING needs to be reported as a separate category only if annual sales are greater than 1,000 GWH. Otherwise, include MINING in the INDUSTRIAL category.
COMMENTS
Dairyland Power Cooperative is a generation and transmission cooperative and does not have retail sales to end use consumer members.

## MNConsumers
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [10 empty] | * * * CORRECTED * * *
CY 2024
7610.0310 Item A. MINNESOTA-ONLY FORECAST OF ANNUAL ELECTRIC CONSUMPTION BY ULTIMATE CONSUMERS
Provide actual data for your Minnesota service area only, for the past year, your best estimate for the present year and all future forecast years.
Please remember that the number of customers should reflect the actual number of customers the utility has in that category at year's end, not the number of meters.
|  |  | FARM | NON-FARM RESIDENTIAL | COMMERCIAL | MINING * | INDUSTRIAL | STREET & HIGHWAY LIGHTING | OTHER | MN-ONLY TOTALS | Calculated MN-Only Totals
Past Year | 2024 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
Present Year | 2025 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
1st Forecast Year | 2026 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
2nd Forecast Year | 2027 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
3rd Forecast Year | 2028 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
4th Forecast Year | 2029 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
5th Forecast Year | 2030 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
6th Forecast Year | 2031 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
7th Forecast Year | 2032 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
8th Forecast Year | 2033 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
9th Forecast Year | 2034 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
10th Forecast Year | 2035 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
11th Forecast Year | 2036 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
12th Forecast Year | 2037 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
13th Forecast Year | 2038 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
14th Forecast Year | 2039 | No. of Customers | [8 empty] | 0
|  | MWH | [8 empty] | 0
* MINING needs to be reported as a separate category only if annual sales are greater than 1,000 GWH. Otherwise, include MINING in the INDUSTRIAL category.
COMMENTS
Dairyland Power Cooperative is a generation and transmission cooperative and does not have retail sales to end use consumer members.

## Consumption
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [9 empty] | PUBLIC DOCUMENT -
CY 2024 | [9 empty] | NOT PUBLIC DATA HAS BEEN EXCISED
7610.0310 Item B. FORECAST OF ANNUAL SYSTEM CONSUMPTION AND GENERATION DATA | [5 empty] | (Express in MWH)
NOTE: (Column 1 + Column 2) = (Column 3 + Column 5) - (Column 4 + Column 6)
It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab.
|  | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6 | Column 7 | Column 8 | CALCULATED
|  | CONSUMPTION BY ULTIMATE CONSUMERS IN MINNESOTA MWH [7610.0310 B(1)] | CONSUMPTION BY ULTIMATE CONSUMERS OUTSIDE OF MINNESOTA MWH [7610.0310 B(2)] | RECEIVED FROM OTHER UTILITIES MWH [7610.0310 B(3)] | DELIVERED FOR RESALE MWH [7610.0310 B(4)] | TOTAL ANNUAL NET GENERATION MWH [7610.0310 B(5)] | TRANSMISSION LINE SUBSTATION AND DISTRIBUTION LOSSES MWH [7610.0310 B(6)] | TOTAL WINTER CONSUMPTION MWH [7610.0310 B(7)] | TOTAL SUMMER CONSUMPTION MWH [7610.0310 B(7)] | (GENERATION + RECEIVED) MINUS (RESALE + LOSSES) MINUS (CONSUMPTION) SHOULD EQUAL ZERO
[PROTECTED DATA BEGINS
Past Year | 2024 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6540670.93 | 6540670.93
Present Year | 2025 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6447860 | 6447860
1st Forecast Year | 2026 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 7074425 | 7074425
2nd Forecast Year | 2027 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 7298312 | 7298312
3rd Forecast Year | 2028 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 7013382 | 7013382
4th Forecast Year | 2029 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6788257 | 6788257
5th Forecast Year | 2030 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6799289 | 6799289
6th Forecast Year | 2031 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6733616.1611 | 6733616.1611
7th Forecast Year | 2032 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6707049.9748 | 6707049.9748
8th Forecast Year | 2033 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6707368.6751 | 6707368.6751
9th Forecast Year | 2034 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6723105.9494 | 6723105.9494
10th Forecast Year | 2035 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6740518.3838 | 6740518.3838
11th Forecast Year | 2036 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6530461.3245 | 6530461.3245
12th Forecast Year | 2037 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6380470.7739 | 6380470.7739
13th Forecast Year | 2038 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6400187.3447 | 6400187.3447
14th Forecast Year | 2039 | It is recognized that there may be circumstances in which the data entered by the utility is more appropriate or accurate than the value in the corresponding automatically-calculated cell. If the value in the automatically-calculated cell does not match the value that your utility entered, please provide an explanation in the Comments area at the bottom of the worksheet tab. Column 3: 6418476.7192 | 6418476.7192
PROTECTED DATA ENDS]
COMMENTS
Note on E10: Renee Colbert: Class A & D Load
Note on F10: Renee Colbert: Sum Generation, PPA, and load purchase

## PeakDemand
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [12 empty] | * * * CORRECTED * * *
CY 2024
7610.0310 Item C. PEAK DEMAND BY ULTIMATE CONSUMERS AT THE TIME OF ANNUAL SYSTEM PEAK (in MW)
|  | FARM | NON-FARM RESIDENTIAL | COMMERCIAL | MINING | INDUSTRIAL | STREET & HIGHWAY LIGHTING | OTHER | SYSTEM TOTALS | Calculated System Totals
Last Year Peak Day | 2024 | [8 empty] | 0
7610.0310 Item D. PEAK DEMAND BY MONTH FOR THE LAST CALENDAR YEAR (in MW)
|  | JANUARY | FEBRUARY | MARCH | APRIL | MAY | JUNE | JULY | AUGUST | SEPTEMBER | OCTOBER | NOVEMBER | DECEMBER
Last Year | 2024 | 969.7365 | 839.8253 | 792.0979 | 746.3289 | 748.2239 | 993.7969 | 1077.2653 | 1167.6242 | 967.4894 | 798.2722 | 886.5168 | 991.9406
COMMENTS

## FirmPurch
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) |  |  |  |  | NOT PUBLIC DOCUMENT - |  | * * * CORRECTED * * *
CY 2024 |  |  |  |  | NOT FOR PUBLIC DISCLOSURE
7610.0310 Item E. PART 1: FIRM PURCHASES |  |  |  | (Express in MegaWatts)
[PROTECTED DATA BEGINS
NAME OF OTHER UTILITY =>
Past Year | 2024 | Summer
Winter
Present Year | 2025 | Summer
Winter
1st Forecast Year | 2026 | Summer
Winter
2nd Forecast Year | 2027 | Summer
Winter
3rd Forecast Year | 2028 | Summer
Winter
4th Forecast Year | 2029 | Summer
Winter
5th Forecast Year | 2030 | Summer
Winter
6th Forecast Year | 2031 | Summer
Winter
7th Forecast Year | 2032 | Summer
Winter
8th Forecast Year | 2033 | Summer
Winter
9th Forecast Year | 2034 | Summer
Winter
10th Forecast Year | 2035 | Summer
Winter
11th Forecast Year | 2036 | Summer
Winter
12th Forecast Year | 2037 | Summer
Winter
13th Forecast Year | 2038 | Summer
Winter
14th Forecast Year | 2039 | Summer
Winter
PROTECTED DATA ENDS]
COMMENTS

## FirmSales
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) |  |  |  |  | * * * CORRECTED * * * | NOT PUBLIC DOCUMENT - | * * * CORRECTED * * *
CY 2024 | [5 empty] | NOT FOR PUBLIC DISCLOSURE
7610.0310 Item E. PART 2: FIRM SALES |  |  |  | (Express in MegaWatts)
[PROTECTED DATA BEGINS
NAME OF OTHER UTILITY =>
Past Year | 2024 | Summer
Winter
Present Year | 2025 | Summer
Winter
1st Forecast Year | 2026 | Summer
Winter
2nd Forecast Year | 2027 | Summer
Winter
3rd Forecast Year | 2028 | Summer
Winter
4th Forecast Year | 2029 | Summer
Winter
5th Forecast Year | 2030 | Summer
Winter
6th Forecast Year | 2031 | Summer
Winter
7th Forecast Year | 2032 | Summer
Winter
8th Forecast Year | 2033 | Summer
Winter
9th Forecast Year | 2034 | Summer
Winter
10th Forecast Year | 2035 | Summer
Winter
11th Forecast Year | 2036 | Summer
Winter
12th Forecast Year | 2037 | Summer
Winter
13th Forecast Year | 2038 | Summer
Winter
14th Forecast Year | 2039 | Summer
Winter
PROTECTED DATA ENDS]
COMMENTS

## ParticipPurch
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [5 empty] | NOT PUBLIC DOCUMENT - | * * * CORRECTED * * *
CY 2024 | [5 empty] | NOT FOR PUBLIC DISCLOSURE
7610.0310 Item F. PART 1: PARTICIPATION PURCHASES |  |  |  | (Express in MegaWatts)
[PROTECTED DATA BEGINS
NAME OF OTHER UTILITY =>
Past Year | 2024 | Summer
Winter
Present Year | 2025 | Summer
Winter
1st Forecast Year | 2026 | Summer
Winter
2nd Forecast Year | 2027 | Summer
Winter
3rd Forecast Year | 2028 | Summer
Winter
4th Forecast Year | 2029 | Summer
Winter
5th Forecast Year | 2030 | Summer
Winter
6th Forecast Year | 2031 | Summer
Winter
7th Forecast Year | 2032 | Summer
Winter
8th Forecast Year | 2033 | Summer
Winter
9th Forecast Year | 2034 | Summer
Winter
10th Forecast Year | 2035 | Summer
Winter
11th Forecast Year | 2036 | Summer
Winter
12th Forecast Year | 2037 | Summer
Winter
13th Forecast Year | 2038 | Summer
Winter
14th Forecast Year | 2039 | Summer
Winter
PROTECTED DATA ENDS]
COMMENTS

## ParticipSales
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) |  |  |  |  | NOT PUBLIC DOCUMENT - | * * * CORRECTED * * *
CY 2024 |  |  |  |  | NOT FOR PUBLIC DISCLOSURE
7610.0310 Item F. PART 2: PARTICIPATION SALES |  |  |  | (Express in MegaWatts)
[PROTECTED DATA BEGINS
NAME OF OTHER UTILITY =>
Past Year | 2024 | Summer
Winter
Present Year | 2025 | Summer
Winter
1st Forecast Year | 2026 | Summer
Winter
2nd Forecast Year | 2027 | Summer
Winter
3rd Forecast Year | 2028 | Summer
Winter
4th Forecast Year | 2029 | Summer
Winter
5th Forecast Year | 2030 | Summer
Winter
6th Forecast Year | 2031 | Summer
Winter
7th Forecast Year | 2032 | Summer
Winter
8th Forecast Year | 2033 | Summer
Winter
9th Forecast Year | 2034 | Summer
Winter
10th Forecast Year | 2035 | Summer
Winter
11th Forecast Year | 2036 | Summer
Winter
12th Forecast Year | 2037 | Summer
Winter
13th Forecast Year | 2038 | Summer
Winter
14th Forecast Year | 2039 | Summer
Winter
PROTECTED DATA ENDS]
COMMENTS

## Load&GenCap
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [11 empty] | * * * CORRECTED * * * |  |  |  |  | NOT PUBLIC DOCUMENT -
CY 2024 | [16 empty] | NOT FOR PUBLIC DISCLOSURE
7610.0310 Item G. LOAD AND GENERATION CAPACITY |  |  |  |  | (Express in MegaWatts)
|  |  | Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6 | Column 7 | Column 8 | Column 9 | Column 10 | Column 11 | Column 12 | Column 13 | Column 14 | Column 15
|  |  | SEASONAL MAXIMUM DEMAND | SCHEDULE L. PURCHASE AT THE TIME OF SEASONAL SYSTEM DEMAND | SEASONAL SYSTEM DEMAND | ANNUAL SYSTEM DEMAND | SEASONAL FIRM PURCHASES (TOTAL) | SEASONAL FIRM SALES (TOTAL) | SEASONAL ADJUSTED NET DEMAND (Column 3 - 5 + 6) | ANNUAL ADJUSTED NET DEMAND (Column 4 - 5 + 6) | NET GENERATING CAPABILITY | PARTICIPATION PURCHASES (TOTAL) | PARTICIPATION SALES (TOTAL) | ADJUSTED NET CAPABILITY (Column 9 + 10 - 11) | NET RESERVE CAPACITY OBLIGATION | TOTAL FIRM CAPACITY OBLIGATION (Column 7 + 13) | SURPLUS (+) OR DEFICIT (-) CAPACITY (Column 12 - 14)
[PROTECTED DATA BEGINS
Past Year | 2024 | Summer
Winter
Present Year | 2025 | Summer
Winter
1st Forecast Year | 2026 | Summer
Winter
2nd Forecast Year | 2027 | Summer
Winter
3rd Forecast Year | 2028 | Summer
Winter
4th Forecast Year | 2029 | Summer
Winter
5th Forecast Year | 2030 | Summer
Winter
6th Forecast Year | 2031 | Summer
Winter
7th Forecast Year | 2032 | Summer
Winter
8th Forecast Year | 2033 | Summer
Winter
9th Forecast Year | 2034 | Summer
Winter
10th Forecast Year | 2035 | Summer
Winter
11th Forecast Year | 2036 | Summer
Winter
12th Forecast Year | 2037 | Summer
Winter
13th Forecast Year | 2038 | Summer
Winter
14th Forecast Year | 2039 | Summer
Winter
PROTECTED DATA ENDS]
COMMENTS | bar: Column 1 to (Express in MegaWatts) Column 7

## Add&Retire
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued)
CY 2024 |  |  |  | * * * CORRECTED * * * | * * * CORRECTED * * *
7610.0310 Item H. ADDITIONS AND RETIREMENTS |  |  | (Express in MegaWatts)
|  | ADDITIONS | RETIREMENTS
Past Year | 2024 | 8 | 0
Present Year | 2025 | 0 | 0
1st Forecast Year | 2026 | 733 | 0
2nd Forecast Year | 2027 | 225 | 0
3rd Forecast Year | 2028 | 0 | 0
4th Forecast Year | 2029 | 0 | 0
5th Forecast Year | 2030 | 0 | 0
6th Forecast Year | 2031 | 0 | 0
7th Forecast Year | 2032 | 0 | 0
8th Forecast Year | 2033 | 0 | 0
9th Forecast Year | 2034 | 0 | 0
10th Forecast Year | 2035 | 0 | 0
11th Forecast Year | 2036 | 0 | 0
12th Forecast Year | 2037 | 0 | 0
13th Forecast Year | 2038 | 0 | 0
14th Forecast Year | 2039 | 0 | 0
COMMENTS
2024 - 8 MWs Solar
2026 - 505.5 MWs of Wind and 228 MWs of Solar
2027 - 10 MWs of Battery, 16 MWs of Wind and 199 MWs of Solar
Prospective Solar and Wind Projects
Dairyland will continue to work on these potential additions, but if it is not successful by the
anticipated start dates, the capacity will be made up with bilateral purchases.

## FuelRequirements
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [11 empty] | * * * CORRECTED * * * | NOT PUBLIC DOCUMENT -
CY 2024 | [12 empty] | NOT FOR PUBLIC DISCLOSURE
7610.0430 FUEL REQUIREMENTS AND GENERATION BY FUEL TYPE
Please use the appropriate code for the fuel type as shown in the list at the bottom of this worksheet tab.
|  | FUEL TYPE 1 |  | FUEL TYPE 2 |  | FUEL TYPE 3 |  | FUEL TYPE 4 |  | FUEL TYPE 5 |  | FUEL TYPE 6
|  | Name of Fuel |  | Name of Fuel |  | Name of Fuel |  | Name of Fuel |  | Name of Fuel |  | Name of Fuel
|  | Unit of Measure |  | Unit of Measure |  | Unit of Measure |  | Unit of Measure |  | Unit of Measure |  | Unit of Measure
|  | QUANTITY OF FUEL USED | NET MWH GENERATED | QUANTITY OF FUEL USED | NET MWH GENERATED | QUANTITY OF FUEL USED | NET MWH GENERATED | QUANTITY OF FUEL USED | NET MWH GENERATED | QUANTITY OF FUEL USED | NET MWH GENERATED | QUANTITY OF FUEL USED | NET MWH GENERATED
Past Year | 2024
Present Year | 2025
1st Forecast Year | 2026
2nd Forecast Year | 2027
3rd Forecast Year | 2028
4th Forecast Year | 2029
5th Forecast Year | 2030
6th Forecast Year | 2031
7th Forecast Year | 2032
8th Forecast Year | 2033
9th Forecast Year | 2034
10th Forecast Year | 2035
11th Forecast Year | 2036
12th Forecast Year | 2037
13th Forecast Year | 2038
14th Forecast Year | 2039
LIST OF FUEL TYPES
|  | BIT - Bituminous Coal |  | LPG - Liquefied Propane Gas |  |  | HYD - Hydro (Water)
|  | COAL - Coal (General) |  | NG - Natural Gas |  |  | WIND - Wind
|  | DIESEL - Diesel |  | NUC - Nuclear |  |  | WOOD - Wood
|  | FO2 - Fuel Oil #2 (Mid-Distillate) |  | REF - Refuse, Bagasse, Peat, Non-wood waste |  |  | SOLAR - Solar
|  | FO6 - Fuel Oil #6 (Residual Fuel Oil) |  | STM - Steam
|  | LIG - Lignite |  | SUB - Sub-bituminous coal
COMMENTS
Dairyland Power does not have any power plants in Minnesota.

## Transmission
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued) | [8 empty] | * * * CORRECTED * * *
CY 2024
7610.0500 TRANSMISSION LINES
Subpart 1. Existing transmission lines. Each utility shall report the following information in regard to each transmission line of 200 kilovolts now in existence:
A. | a map showing the location of each line;
B. | the design voltage of each line;
C. | the size and type of conductor;
D. | the approximate location of d.c. terminals or a.c. substations; and
E. | the approximate length of each line in Minnesota.
Subpart 2. Transmission line additions. Each generating and transmission utility, as defined in part 7610.0100, shall report the information required in subpart 1 for all future transmission lines over 200 kilovolts that the utility plans to build within the next 15 years.
Subpart 3. Transmission line retirements. Each generating and transmission utility, as defined in part 7610.0100, shall identify all present transmission lines over 200 kilovolts that the utility plans to retire within the next 15 years.
In Use (enter X for selection) | To Be Built (enter X for selection) | To Be Retired (enter X for selection) | DESIGN VOLTAGE | SIZE OF CONDUCTOR | TYPE OF CONDUCTOR | D.C. OR A.C. (specify) | LOCATION OF D.C. TERMINALS OR A.C. SUBSTATIONS | INDICATE YEAR IF "TO BE BUILT" OR "RETIRED" | LENGTH IN MINNESOTA (miles)
X |  |  | 345 kV | 2- T2-795 | ACSR | A.C. | Hampton-North Rochester |  | 4.2 (DPC's 11% ownership of 37.8 miles)
X |  |  | 345 kV | 2-954 | ACSS | A.C. | Noth Rochester-Mississippi River |  | 4.7 (DPC's 11% ownership of 43 miles in MN)
| X |  | 345 kV | 2-954 | ACSS | A.C. | North Rochester-Mississippi River 2 | 2030 | 4.7 (DPC's 11% ownership of 43 miles in MN)
COMMENTS

## PeakDay
MINNESOTA ELECTRIC UTILITY INFORMATION REPORTING - FORECAST SECTION (Continued)
CY 2024 |  |  |  | * * * CORRECTED * * * | * * * CORRECTED * * *
7610.0600, item A. 24 - HOUR PEAK DAY DEMAND
Each utility shall provide the following information for the last calendar year:
A table of the demand in megawatts by the hour over a 24-hour period for:
1. the 24-hour period during the summer season when the megawatt demand on the system was the greatest; and
2. the 24-hour period during the winter season when the megawatt demand on the system was the greatest.
| DATE OF PEAK DAY DEMAND | DATE OF PEAK DAY DEMAND
| 2024-08-26 | 2024-12-12 | <= ENTER DATES
TIME OF DAY | MW USED ON SUMMER PEAK DAY | MW USED ON WINTER PEAK DAY
0100 | 750.5237 | 815.8419
0200 | 714.3234 | 802.522
0300 | 690.5428 | 794.3143
0400 | 676.6083 | 796.8978
0500 | 682.6776 | 815.6669
0600 | 726.1314 | 862.0411
0700 | 795.5175 | 934.9919
0800 | 840.1337 | 913.988
0900 | 867.2972 | 895.1238
1000 | 900.6246 | 874.4127
1100 | 950.9028 | 900.2052
1200 | 998.8539 | 922.5288
1300 | 1034.4816 | 919.953
1400 | 1053.2834 | 899.5195
1500 | 1038.6003 | 885.7567
1600 | 1061.2905 | 896.7718
1700 | 1093.9621 | 948.3349
1800 | 1128.4484 | 991.9406
1900 | 1167.6242 | 989.3431
2000 | 1162.4583 | 975.5847
2100 | 1118.5577 | 949.6938
2200 | 1015.6 | 919.3488
2300 | 902.6491 | 896.2733
2400 | 678.3918 | 775.796
COMMENTS

## Attachments
MINNESOTA ELECTRIC UTILITY ANNUAL REPORT - FORECAST SECTION
CY 2024
REMEMBER TO SEND/UPLOAD THE FOLLOWING ATTACHMENTS:
DO NOT INSERT THE ATTACHMENT INTO THIS WORKBOOK |  | < = < = < | NOTE < = <
1 | Each utility shall report the following information in regard to each transmission line of 200 kilovolts now in existence: a. a map showing the location of each line; b. the design voltage of each line; c. the size and type of conductor; d. the approximate location of d.c. terminals or a.c. substations; and e. the approximate length of each line in Minnesota. (pursuant to MN Rules Chapter 7610.0500 Subpart 1, Existing transmission lines)
When submitting this workbook and attachments, please following the file naming format of:
ELEC_###_2024 Forecast Report (this workbook)
ELEC_###_2024 TL Map
NOTE: ### is your Utility Entity number found in Cell C5 on the Registration Tab

## BlankPlant (hidden)
MINNESOTA ELECTRIC UTILITY ANNUAL REPORT (Continued)
7610.0430 FUEL REQUIREMENTS AND GENERATION BY FUEL TYPE
POWER PLANT AND GENERATING UNIT DATA REPORT: 2003
INSTRUCTIONS: | Complete one worksheet for each power plant
Scroll down below the data entry tables to see the ALLOWABLE CODES to be used for Unit Status, Unit Type, Energy Source, Fuel Type, and Unit of Measure fields
Scroll down below the ALLOWABLE CODES to see DEFINITIONS for Capacity Factor, Operating Factor and Forced Outage Rate.
A. PLANT DATA
PLANT NAME |  |  | PLANT ID | (leave this cell blank)
STREET ADDRESS
CITY
STATE |  |  | NUMBER OF UNITS
ZIP CODE
COUNTY
CONTACT PERSON
TELEPHONE
B. INDIVIDUAL GENERATING UNIT DATA
| Unit ID # | Unit Status * | Unit Type ** | Year Installed | Energy Source *** | Net Generation (mwh) | Comments
C. UNIT CAPABILITY DATA |  | CAPACITY (MEGAWATTS)
| Unit ID # | Summer | Winter | Capacity Factor (%) | Operating Factor (%) | Forced Outage Rate (%) | Comments
D. UNIT FUEL USED |  | PRIMARY FUEL USE |  |  |  | SECONDARY FUEL USE
| Unit ID # | Fuel Type *** | Quantity | Unit of Measure **** | BTU Content (for coal only) | Fuel Type | Quantity | Unit of Measure **** | BTU Content (for coal only)
ALLOWABLE CODES
Cell Heading | Code | Code Definition |  | Cell Heading | Code | Code Definition
* Unit Status | USE | In-use |  | ** Unit Type | CS | Combined Cycle
| STB | Stand-by |  |  | IC | Internal Combustion (Diesel)
| RET | Retired |  |  | GT | Combustion (Gas) Turbine
| FUT | Future |  |  | HC | Hydro
| OTHER | Other - provide description |  |  | ST | Steam Turbine (Boiler)
[5 empty] | NC | Nuclear
*** Energy Source & | BIT | Bituminous Coal |  |  | WI | Wind
Fuel Type | COAL | Coal (general) |  |  | OTHER | Other - provide description
| DIESEL | Diesel
| FO2 | Fuel Oil #2 (Mid Distillate) |  | **** Unit of Measure | GAL | Gallons
| FO6 | Fuel Oil #6 (Residual Fuel Oil) |  |  | MCF | Thousand cubic feet
| LIG | Lignite |  |  | MMCF | Million cubic feet
| LPG | Liquefied Propane Gas |  |  | TONS | Tons
| NG | Natural Gas |  |  | BBL | Barrels
| NUC | Nuclear |  |  | THERMS | Therms
| REF | Refuse, Bagasse, Peat, Non-wood waste
| STM | Steam
| SUB | Sub-Bituminous Coal
| HYD | Hydro (Water)
| WIND | Wind
| WOOD | Wood
| SOLAR | Solar
| OTHER | Other - provide description
DEFINITIONS
Forced Outage Rate = | Hours Unit Failed to be Available X 100 |  |  | Note: Failure of a unit to be available does not include down time for scheduled maintenance.
(percentage) | Hours Unit Called Upon to Produce
Operating Availability = | 100 - Maintenance percentage - Forced Outage percentage |  |  | Note: Maintenance percentage is the number of hours of scheduled maintenance divided by 8,760.
(percentage)
Capacity Factor = | Total Annual MWH of Production X 100
(percentage) | Accredited Capacity Rating (MW) of the Unit X 8,760